## Feeders
feeder_name | feeder_type | device_type | rated_current | rated_kw | pole_config | breaking_capacity | item_sku | item_vendor_cat | item_qty
Incomer ACB 4000A | Incomer | ACB | 4000 |  | 4-Pole (4P) | 65 kA (1s) | SKU-ACB-4000 |  | 1
Incomer ACB 4000A | [6 empty] | SKU-CT-4000 |  | 3
Outgoing MCCB 630A | Outgoing | MCCB | 630 |  | 3-Pole (3P) | 50 kA (1s) |  | VC-MCCB-630 | 1

## Instructions
How to fill this template
One row per feeder item line -- a feeder with 3 BOM items is 3 rows.
Rows that share the same feeder_name (case-insensitive) are grouped into one feeder.
feeder_name is required on every row.
feeder_type, device_type, rated_current, rated_kw, pole_config, breaking_capacity only need to be
filled on a feeder's first row -- later rows for the same feeder can leave them blank.
These feeder-level fields are only used when the feeder is brand new; if feeder_name matches an
existing feeder in the library, only the new item lines are added to it -- its own fields and its
existing lines are never changed.
feeder_type must be one of: Incomer, Outgoing, Bus Coupler, Sub-Incomer, APFC Capacitor Bank.
device_type must be one of: ACB, MCCB, MCB, DOL, RDOL, STAR_DELTA, VFD, SOFT_STARTER, OTHER.
Each row needs item_sku or item_vendor_cat (or both) to identify the item. item_qty defaults to 1
if left blank.
If an item_sku/item_vendor_cat isn't found in Item Master, you'll be asked to fill in the minimum
details to create it (or choose not to) before the import finishes.